[image: image1.jpg]®

INSTRUMENTS






PRICE LIST

QUOTATIONS

(EFFECTIVE FROM: 01-05-2015)

	
	Instrument – Description
	Price(Rs.)

	‘SIGMA’
	MILLION MEGOHM METER

1 mega ohm to 10 million mega ohm in six ranges,

Test Voltage – 100,200,300,400,500V DC 
	7000/-

	‘SIGMA’
	MILLION MEGOHM METER

1 mega ohm to 100 million mega ohm in seven ranges,

Test Voltage – 100,250,500,750,1000V DC 
	9000/-

	‘SIGMA’
	MILLION MEGOHM METER

1 mega ohm to 1000 million mega ohm in eight ranges,

Test Voltage – 100,250,500,750,1000V DC 
	11000/-

	‘SIGMA’
	CABLE FAULT LOCATOR (Short fault)
	7000/-

	‘SIGMA’
	CABLE FAULT LOCATOR (Open fault)
	7000/-

	‘SIGMA’
	DIGITAL MILLIOHM METER (3½ Digit)

0.1 mOhm to 200K Ohm in 7 range
	3000/-

	‘SIGMA’
	DIGITAL MICRO OHM METER (3½ Digit)

1µOhm to 20K Ohm in 8 range
	3500/-

	‘SIGMA’
	DIGITAL MICROOHM METER (4½ Digit)

1 µOhm to 20K Ohm in 7 range
	7000/-

	‘SIGMA’
	DIGITAL OHM METER (CUM) COMPARATOR 

with GO-NO-GO facility with upper/lower limit setting and display of actual value
	3500/-

	‘SIGMA’
	DIGITAL CAPACITANCE METER 

0.1pf to 2000 µf in 8 full ranges, Battery operated/portable 
	2000/-

	‘SIGMA’
	DIGITAL PANEL METER

3½ digit LED for current/voltage AC or DC, 96X96 mm or 48X96 mm
	600/-

	‘SIGMA’
	DIGITAL PANEL METER 

(30-70 Hz) mains frequency (4 digits) line frequency 96X96 mm or 48X96 mm 
	700/-

	‘SIGMA’
	DIGITAL PANEL METER 

(Resistance)  any single range 200 Ohm, 2 Kohm, 20 Kohm,

2 Mohm (3½) digit 96X96 mm or 96X48 mm 
	1000/-

	‘SIGMA’
	DIGITAL WATT METER

(3½ DPM) 20W/200W/2000W, 96X96mm
	2200/-

	‘SIGMA’
	DIGITAL POWER ANALYZER (Volts, Ampere, Watt, Frequency/PF)
	8000/-

	‘SIGMA’
	DIGITAL THD POWER ANALYZER (Volts, Ampere, Watt, Frequency/PF/ with 55th THD, with Graphics)
	36000/-

	‘SIGMA’
	DIGITAL FREQUENCY COUNTER 

8 Digit LED Display, 0-2.4 GHz
	4500/-

	‘SIGMA’
	DIGITAL LUX METER 0-50000 LUX

Auto range, Battery operated/portable
	1800/-

	‘SIGMA’
	SOUND LEVEL METER DIGITAL (DIGITAL) 30-130 dB
	4500/-

	‘SIGMA’
	DIGITAL TEMPERATURE (CUM) HUMIDITY METER 

Hand held, battery operated -50 to 70(C, 20% TO 99% Humidity
	800/-

	‘SIGMA’
	DIGITAL TEMPERATURE INDICATOR Battery operated, Hand Held 50(C to 300(C with sensor (resolution 0.1(C in range 200(C and 1(C above 200(C)
	800/-

	‘SIGMA’
	DIGITAL TEMPERATURE INDICATOR NON- CONTACT -20(C to 530(C (INFRARED)
	2600/-

	‘SIGMA’
	SINE SQUARE WAVE FUNCTION GENERATOR 1Hz TO 200KHz, dial type
	2500/-

	‘SIGMA’
	DIGITAL SINE SQUARE TRIANGLE FUNCTION GENERATOR 

0.1Hz TO 1MHz with digital display

	4000/-

	‘SIGMA’
	DIGITAL SINE SQUARE TRIANGLE FUNCTION GENERATOR 

1Hz TO 3MHz with digital display
	4500/-

	‘SIGMA’
	POWER SUPPLY, DC Regulated 

                             0-30 Volts/ 0-2 Amp DIGITAL

                             0-30 Volts/ 0-5 Amp DIGITAL

                             0-30 Volts/ 0-10 Amp DIGITAL
	3500/-

5000/-

7000/-

	‘SIGMA’
	STANDARD RESISTANCE BOX OR MEGOHM BOX

for Mega ohm meters or Milliohm meters or Micro ohm meters duly Calibrated 
	2000/-

	‘SIGMA’
	STANDARD AC KV METER OR DC KV METER 

(0-10 KV/ 0-15KV),  Calibrated 
	2800/-

	‘SIGMA’
	THERMAL STABILITY TEST APPARATUS 

With PID Controller
	28000/-

	‘SIGMA’
	SPARK TESTER 15 KVA            -ONLINE-
	28000/-

	‘SIGMA’
	KELVIN DOUBLE BRIDGE INDUSTRIAL

(Complete with DC source Galvanometer and Attachment 1M)
	30000/-

	‘SIGMA’
	HIGH VOLTAGE TESTER – AC

Automatic tripping facility, Safety probe, Audio Alarm

            0-5 KV (3 to 30 mA) with KV and mA meter, DIGITAL

            0-5 KV (3 to 100 mA) with KV and mA meter, DIGITAL

            0-10 KV (3 to 30 mA) with KV and mA meter, DIGITAL

            0-5/10 KV-30 Amp with KV and Amp meter
	7000/-

9500/-

9500/-

38000/-

	‘SIGMA’
	HIGH VOLTAGE TESTER –2KV DC with Tripping facility
	7500/-

	‘SIGMA’
	HIGH VOLTAGE TESTER –3KV DC with Tripping facility
	10000/-

	‘SIGMA’
	DIGITAL LCR METER with Frequency 100Hz/1KHz/10KHz/100KHz
(4½ digits mains operated) 1 pf to 2000 µF, 0.1 ohm to 200 Mohm, 0.1µH to 2000H,Dissipation factor
	15000/-

	‘SIGMA’
	DIGITAL LCR METER 

(3½ digits mains operated) 1 pf to 2000 µF, 0.1 ohm to 20 Mohm, 0.1µH to 2000H,Dissipation factor 
	7500/-

	‘SIGMA’
	DIGITAL LCR METER / LCR BRIDGE METER
(3½ digits mains operated) 0.1 pf to 2 µF, 0.01 ohm to 2 Mohm, 0.1mH to 20H 
	4000/-

	‘SIGMA’
	DIGITAL LCR METER 

(3½ LCD battery operated, portable) 1µH to 20H, 0.1 pf to 2000µF, 0.1ohm to 20Mohm 
	4000/-

	‘SIGMA’
	DIGITAL CLAMP METER / DIGITAL TONG TESTER 

(3½ digits 9 VOLT BATTERY OPERATED)

0to 20A, 200A, 1000A AC, 750V AC, 1000V DC, 200 Ohm, 2 Kohms, Frequency, Continuity Check , data hold
	2500/-

	‘SIGMA’
	DIGITAL AC/DC CLAMP METER / DIGITAL TONG TESTER 

(3¾ digits AC/DC Current 1000A AC/DC, Voltage AC/DC, Resistance, Continuity, Frequency, Temperature
	3800/-

	‘SIGMA’
	DIGITAL TECHO METER 

Portable, battery operated, 4 digit, LED, 1 to 9999rpm, contact type.

Non contact type 
	1700/-

2700/-

	‘SIGMA’
	DIGITAL pH METER  /mv Meter, 3½ LED (0 to 14.00 pH) with Electrode
	3600/-

	‘SIGMA’
	DIGITAL MULTI METER, TRMS, SIGMA 33A
3¾ Digit LCD, Portable, Battery operated 750V AC, 1000V DC, 10 Amp AC/DC, 40 Mohm, continuity, 30 MHz Frequency, 200 µF Capacitance 
	2800/-

	‘SIGMA’
	DIGITAL MULTI METER, SIGMA M23A 

3½ Digit LCD, Battery operated 750V AC, 1000V DC, 10A DC/AC, 20 Mohm, Continuity check, diode check 
	1500/-

	‘SIGMA’
	DIGITAL MEGGER (Battery operated) 40 Gohm, 500V & 1000V DC
	3000/-

	‘SIGMA’
	DIGITAL MEGGER (Battery operated) 40 Gohm, 1000V & 2500V DC
	4000/-

	‘SIGMA’
	DIGITAL MEGGER (Battery operated)200 Gohm, Voltage upto 5000V DC
	8000/-

	‘SIGMA’
	DIGITAL EARTH RESISTANCE TESTER 1000 ohm with Rechargable Battery with Kit for earth resistance
	4500/-


-Also available Digital Oscilloscope, Variac, Trainer’s Kit, Tensile Testing Machine, Capacitance

       unbalance meter, oven, water bath, etc. and products from other manufacturers,

- Most of products available ex-stock, otherwise delivery within 2 weeks.

- Vat tax 12.5% Local / 2% against [C] form/ or 12.5% CST.   Our TIN No. 07930124460
- Payment 100% against Proforma Invoice by way of demand draft favouring 
"SUNIL ASSOCIATES" OR deposit in any branch of Indian Overseas Bank in our Current Account No. 044202000005022. IFSC Code of our bank is IOBA0000442.
- Warranty for one year against manufacturing defects on most of the instruments.
WE REPAIR / CALIBRATE INSTRUMENTS OF ANY MAKE

SUNIL ASSOCIATES


 Main Road, Opp. Metro Piller No. 211,


23, West Patel Nagar, New Delhi –110008. (India)


Tel.: (91)(11) 25882168, 25884181


Tele Fax 25883908 (M):  (91) 9312531313.


E-mail: manwani@sigmainstruments.com


Website: http://www.sigmainstruments.com





�











